## Asset Criticality v8.0
Asset ID | Asset Description | System | Location | Functional Location | Acquisition Value | Mission Impact | Safety Impact | Environmental Impact | Single Point Failure | Preventive Maintenance Cost | Corrective Maintenance Cost | Reliability | Spares Lead Time | Asset Replacement Value | Planned Utilization | Decommissioning | Raw Value | Criticality Ranking
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
NOTES:
Note on A1: Asset or equipment identification used in asset management system by organization.
Note on B1: Description of asset (Make, Model, Size, etc.)
Note on C1: Primary system the asset is supporting.
Note on D1: Location of asset. (If the same asset is used in multiple locations rows should be added for each location)
Note on E1: Asset or equipment location identification used in asset management system by organization.
Note on F1: Value for which the asset was purchased.
Note on G1: How will a failure effect the facility's ability to meet mission requirements? 1 = 0% - 10% 2 = 11% - 20% 3 = 21% - 30% 4 = 31% - 40% 5 = 41% - 50% 6 = 51% - 60% 7 = 61% - 70% 8 = 71% - 80% 9 = 81% - 90% 10 = 91% - 100%
Note on H1: Will a failure result or have the potential to cause an accident that results in injury or death? 0 = No potential 10 = Potential for injury
Note on I1: Will a failure result in or have the potential to result in an environmentally reportable event? 0 = No potential 10 = Potential for reportable incident
Note on J1: Is there a way to minimize loss caused by failure? 1 = Automatic failsafe 2 = Manually set failsafe 3 = Inconvenient loss but not significant 4 = Easy work around available 5 = Moderate work around available 6 = Difficult work around available 7 = Very difficult, but possible 8 = Possible, but impacts capacity or quality 9 = Possible, but severely impacts capacity or quality 10 = No work around possible
Note on K1: Annual cost for preventive maintenance. (Scale and ranges can be adjusted) 1 = $0 - $1000 2 = $1,001 - $2,000 3 = $2,001 - $3,000 4 = $3,001 - $4,000 5 = $4,001 - $5,000 6 = $5,001 - $6,000 7 = $6,001 - $7,000 8 = $7,001 - $8,000 9 = $8,001 - $9,000 10 = > $9,001
Note on L1: Average cost per year for asset corrective maintenance issues. (Scale and ranges can be adjusted) 1 = $0 - $1000 2 = $1,001 - $4,000 3 = $4,001 - $8,000 4 = $8,001 - $12,000 5 = $12,001 - $15,000 6 = $15,001 - $19,000 7 = $19,001 - $22,000 8 = $22,001 - $26,000 9 = $26,001 - $30,000 10 = > $30,000
Note on M1: Use historical data to determine the number of breakdowns or number and frequency of breakdowns and/or emergencies for this asset. 1 = No breakdowns/corrective/emergency activity 2 = 1 breakdown/emergency every 7-9 years 3 = 1 breakdown/emergency every 4-6 years 4 = 1 breakdown/emergency every 2-3 years 5 = 1 breakdown/emergency each year(1/year) 6 = 1 breakdown/emergency every six months (2/year) 7 = 1 breakdown/emergency per quarter(4/year) 8 = 1 breakdown/emergency per month (12/year) 9 = 1 breakdown/emergency per week (52/year 10= >2 breakdowns/emergencies per week
Note on N1: How long does it take to order and receive replacement parts for this asset? 1 = In stock and readily available 2 = < 1 day 3 = 1 day 4 = < 1 week 5 = 1- 6 weeks 6 = 6 - 16 weeks 7 = 16 - 20 weeks 8 = 21 - 26 weeks 9 = > 26 weeks 10 = Obsolete, no longer available
Note on O1: Estimated cost to replace asset including installation. (Scale and ranges can be adjusted) 1 = < $3,000 2 = $3,001 - $6,000 3 = $6,001 - $10,000 4 = $10,001 - $20,000 5 = $20,001 - $40,000 6 = $40,001 - $60,000 7 = $60,001 - $80,000 8 = $80,001 - $100,000 9 = $100,001 - $250,000 10 = > $250,000
Note on P1: How often will the asset be required to support mission or business plan? Expressed as percentage of full utilization (Hours required / 8760hr per year) 1 = < 10% 2 = 10% - 19% 3 = 20% - 29% 4 = 30% - 39% 5 = 40% - 49% 6 = 50% - 59% 7 = 60% - 69% 8 = 70% - 79% 9 = 80% - 89% 10 = > 90%
Note on Q1: When the asset has reached the end of its useful life, what will it cost to decommission it? (Scale and ranges can be adjusted) 1 = < $5,000 2 = $5,001 - $20,000 3 = $20,001 - $30,000 4 = $30,001 - $40,000 5 = $40,001 - $50,000 6 = $50,001 - $60,000 7 = $60,001 - $70,000 8 = $70,001 - $80,000 9 = $80,001 - $90,000 10 = > $90,000
Note on R1: The spreadsheet will automatically add all of the input data together to create a "raw" criticality rating. Depending on the actual score, the total may be anything between 0 and 100.
Note on S1: After completing the assessment, determine the highest raw score and define a multiplier that will raise the highest raw score to 100. Adjust all raw scores using this multiplier. This will convert the raw data to a 0 to 100 scale.

## Factors Reference
| Mission Impact | Safety Impact | Environmental Impact | Single Point Failure | Preventive Maintenance Cost | Corrective Maintenance Cost | Reliability | Spares Lead Time | Asset Replacement Value | Planned Utilization | Decommissioning
Score | How will a failure effect the facility's ability to meet mission requirements? | Will a failure result or have the potential to cause an accident that results in injury or death? | Will a failure result in or have the potential to result in an environmentally reportable event? | Is there a way to minimize loss caused by failure? | Annual cost for preventive maintenance. (Scale and ranges can be adjusted) | Average cost per year for asset corrective maintenance issues. (Scale and ranges can be adjusted) | Use historical data to determine the number of breakdowns or number and frequency of breakdowns and/or emergencies for this asset. | How long does it take to order and receive replacement parts for this asset? | Estimated cost to replace asset including installation. (Scale and ranges can be adjusted) | How often will the asset be required to support mission or business plan? Expressed as percentage of full utilization (Hours required / 8760hr per year) | When the asset has reached the end of its useful life, what will it cost to decommission it? (Scale and ranges can be adjusted)
0 |  | No potential | No potential
1 | 0% - 10% |  |  | Automatic failsafe | $0 - $1000 | $0 - $1000 | No breakdowns/corrective/emergency activity | In stock and readily available | < $3,000 | < 10% | < $5,000
2 | 11% - 20% |  |  | Manually set failsafe | $1,001 - $2,000 | $1,001 - $4,000 | 1 breakdown/emergency every 7-9 years | < 1 day | $3,001 - $6,000 | 10% - 19% | $5,001 - $20,000
3 | 21% - 30% |  |  | Inconvenient loss but not significant | $2,001 - $3,000 | $4,001 - $8,000 | 1 breakdown/emergency every 4-6 years | 1 day | $6,001 - $10,000 | 20% - 29% | $20,001 - $30,000
4 | 31% - 40% |  |  | Easy work around available | $3,001 - $4,000 | $8,001 - $12,000 | 1 breakdown/emergency every 2-3 years | < 1 week | $10,001 - $20,000 | 30% - 39% | $30,001 - $40,000
5 | 41% - 50% |  |  | Moderate work around available | $4,001 - $5,000 | $12,001 - $15,000 | 1 breakdown/emergency each year(1/year) | 1- 6 weeks | $20,001 - $40,000 | 40% - 49% | $40,001 - $50,000
6 | 51% - 60% |  |  | Difficult work around available | $5,001 - $6,000 | $15,001 - $19,000 | 1 breakdown/emergency every six months (2/year) | 6 - 16 weeks | $40,001 - $60,000 | 50% - 59% | $50,001 - $60,000
7 | 61% - 70% |  |  | Very difficult, but possible | $6,001 - $7,000 | $19,001 - $22,000 | 1 breakdown/emergency per quarter(4/year) | 16 - 20 weeks | $60,001 - $80,000 | 60% - 69% | $60,001 - $70,000
8 | 71% - 80% |  |  | Possible, but impacts capacity or quality | $7,001 - $8,000 | $22,001 - $26,000 | 1 breakdown/emergency per month (12/year) | 21 - 26 weeks | $80,001 - $100,000 | 70% - 79% | $70,001 - $80,000
9 | 81% - 90% |  |  | Possible, but severely impacts capacity or quality | $8,001 - $9,000 | $26,001 - $30,000 | 1 breakdown/emergency per week (52/year | > 26 weeks | $100,001 - $250,000 | 80% - 89% | $80,001 - $90,000
10 | 91% - 100% | Potential for injury | Potential for reportable incident | No work around possible | > $9,001 | > $30,000 | > 2 breakdowns/emergencies per week | Obsolete, no longer available | > $250,000 | > 90% | > $90,000